## Slide 1
IPC Accessories Installation Guide
2022-01-17

## Slide 2
Box camera mount
TR-UM06-A-IN
IPC54X/IPC56X series
Indoor installation:
Pendent mount
Indoor Wall mount
TR-WM06-C-IN
HS-217S-B-NB
HS-217SHB-B-NB
HS-217SHB-IR-B-NB
TR-WM06-I-IN
Wall mount
TR-UV06-A-IN
Horizontal Pole mount
TR-UP06-IN Pole mount
Outdoor installation (-20 ℃~60 ℃)
Outdoor installation (-40 ℃~70 ℃)
Outdoor installation (-40 ℃~70 ℃)

## Slide 3
Dome camera mount
TR-WM04-IN
IPC323X series
Wall mount
In-ceiling mount
Electric-box Transfer plate
Junction box
TR-FM152-A-IN
TR-SM04-IN
(美国NEMA-WD6标准)
TR-JB04-C-IN
TR-UP06-IN
Pole mount
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
TR-JB07/WM04-B-IN
Wall mount
(Junction box)
Mic

## Slide 4
Dome camera mount
TR-UM06-E-IN
IPC32X S/E/L series
Junction box
Tilted mounting
TR-JB03-G-IN
TR-WM03-D-IN
Wall mount
TR-UP06-IN
Pole mount
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
TR-JB07/WM03-G-IN
IPC31X
Wall mount
(Junction box)
PRIME series
IPC354SR3
IPC3616\361X SS \361XSB series
IPC32X SS\SB\LB\LE series
IPC361X SE series

## Slide 5
Dome camera mount
IPC32X S/E/L series
IPC32X SS\SB\LB\LE series
IPC323X series
Mic
Wall mount
HS-205S
Wall mount
HS-207S
TR-JB03-G-IN
TR-JB04-C-IN
Junction box
Junction box
TR-JB03-H-IN
PRIME/EASY series
IPC353X
Wall mount
Junction box

## Slide 6
Electric-box Transfer plate
IPC32X S/E/L series
IPC32X SS\SB\LB\LE series
EASY series
IPC361XL\LE
PRIME series
IPC361XSR -F
EASY/PRIME series
IPC21XX
IPC21XX
(Round mount)
IPC232X LB
IPC2128 SB
IPC231X SB
Electric-box Transfer plate
TR-SM03-IN
(美国NEMA-WD6标准)
IPC3616\361X SS \361XSB series
IPC361X SE series
IPC31X
PRIME series
IPC354SR3

## Slide 7
Dome camera mount
TR-WM04-IN
IPC373XSE series
Wall mount
Celling mount
TR-UP06-IN
Pole mount
TR-CM24-IN
(NPT ¾ 200mm)
Pendent mount adaptor is for indoor.
Outdoor installation should take care of waterproof.

## Slide 8
Dome camera mount
PRIME series
IPC361X S/E
Junction box
TR-JB03-H-IN
TR-WM03-B-IN
Wall mount
Wall mount
(Junction box)
TR-UP06-IN
Pole mount
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
PRIME/EASY series
IPC363X
TR-JB07/WM03-F-IN
EASY series
IPC361XL/LE
Junction box
TR-JB03-I-IN
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
TR-WM03-D-IN
Wall mount
TR-UP06-IN
Pole mount
TR-JB07/WM03-G-IN
Wall mount
(Junction box)
Mini PTZ series
IPC64XX
PRIME/EASY series
IPC353X
IPC363x SS\SA\SB series
PRIME series
IPC361XSR -F
IPC363x SE
series

## Slide 9
Fisheye camera mount
814 fisheye
TR-JB04-D-IN
868 fisheye
Junction box
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
Junction box
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
TR-JB03-H-IN
815 fisheye

## Slide 10
TR-CM24-IN
(NPT ¾ 200mm)
TR-SE24-IN
(NPT ¾ 200mm lengthen)
TR-SE24-A-IN
(NPT ¾ 500mm lengthen)
Indoor pendent mount
Dome camera Indoor pendent mount
Junction box
*Release: 2019Q1
Pendent mount adaptor is for indoor.
Outdoor installation should take care of waterproof.
TR-JB04-C-IN
IPC323X series
+
TR-JB03-H-IN
PRIME series
IPC361X S/E
Mini PTZ
PRIME series
IPC363X
+
IPC361X LB/LE
IPC361X SR -F
TR-JB03-I-IN
+
IPC32X series
TR-JB03-G-IN
IPC31X series
+
TR-JB04-D-IN
868 fisheye
+
814 fisheye
815 fisheye
TR-JB03-H-IN
+
PRIME series
IPC353X
IPC354 series
IPC3616 series
IPC361X SS/SB series
Optional
Optional
IPC373XSE series
Notes: 2018-11-8update：为解决北美客户要求所有半球产品可吊装需求
新开模具：搭配新藏线盒使用
1、200mm吊杆（带吸顶盘）TR-CM24-IN ；
2、200mm加长杆TR-SE24-IN搭配CM24使用；
3、500mm加长杆TR-SE24-A-IN搭配CM24使用；
（加长杆下部为外螺纹，上部为内螺纹，理论上可无限加长）

## Slide 11
Bullet camera mount
TR-UP06-B-IN
IPC74X series
Pole mount
TR-UP06-C-IN
Pole mount
26X series
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
Recommended side outlet for cable
IPC23XX series
Junction box
TR-JB07-D-IN
IPC252 series
IPC254 series
TR-UP06-B-IN
Pole mount
TR-UP06-C-IN
Pole mount
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
Recommended side outlet for cable
Junction box
TR-JB07-D-IN
IPC222X series
2AX series
TR-JB06-A-IN

## Slide 12
Bullet camera mount
IPC2C2X
TR-WM06-F
TR-UM06-A-IN
TR-WM06-C-IN
TR-UP06-B-IN
Pole mount
Wall mount
Pendent mount
Wall mount
IPC2A2X

## Slide 13
Mini Bullet camera mount
TR-JB05-A-IN
Junction box
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
TR-UP06-B-IN
Pole mount
Junction box
Pole mount
TR-JB05-B-IN
(Round)
TR-UP06-C-IN
EASY/PRIME series
IPC21XX
IPC21XX
(Round mount)
IPC232X LB
IPC2128 SB
IPC231X SB
Notes: 2018-11-15update：
藏线盒后走线孔向内增加NPS3/4管螺纹，支持安装旋塞，解决亚太客户反馈藏线盒防水问题；
新增圆形藏线盒解决北美客户圆形酒杯不协调问题；
涉及以下款型：
1、TR-JB05-A-IN 替代 TR-JB05-IN，后走线孔向内增加NPS3/4管螺纹，计划时间：2018-12
2、新增圆形TR-JB05-B-IN，计划时间：2019Q1
3、新增TR-UP06-C-IN，计划时间：2019Q1

## Slide 14
Bullet camera mount
TR-UP06-C-IN
Pole mount
IPC262EB-HDX10K-I0
Wall mount
2A2XSE series
Pole mount
Recommended side outlet for cable
Pendent mount
TIC2621SR-F3-4F4AC-VD

## Slide 15
Positioning system mount
TR-UP06-B-IN
Pole mount
TR-UP06-C-IN
Pole mount
TR-A01-IN
NPT ¾”Plastic
Waterproof joint
Optional
Recommended side outlet for cable
Junction box
TR-JB07-D-IN
IPC672 Series
Pendent mount
TR-CM06-A
IPC6312 Series
IPC675 Series

## Slide 16
PTZ camera mount
TR-UF45-A-IN
TR-SE45-IN
TR-SE45-A-IN
TR-CE45-IN
TR-WE45-IN
IPC62xx Series
IPC63xx Series
IPC66xx Series
Pendent mount (200mm)
(support side cabling)
Pendent mount adaptor
(support side cabling)
Pole mount
Corner mount
Wall mount
(Longer bracket)
Pendent mount (200mm)
Pendent mount (500mm)
TR-WE45-A-IN
TR-JB12-IN
Steel：TR-UP08-A-IN
Al Alloy：TR-UP08-B-IN
Steel ：TR-UC08-A-IN
Al Alloy ： TR-UC08-B-IN
Wall mount
(Shorter bracket)
TR-UF45-A-IN
Pendent mount adaptor is for indoor.
Outdoor installation should take care of waterproof.
Pendent mount adaptor
(support side cabling)
Wall mount
(Swan neck bracket)
TR-WE45-B-IN
IPC6424SR-X25-VF

## Slide 17
PTZ camera mount
TR-WE45-A-IN
TR-JB12-IN
Wall mount
(Longer bracket)
Pole mount
Corner mount
Steel：TR-UP08-A-IN
Al Alloy：TR-UP08-B-IN
Steel ：TR-UC08-A-IN
Al Alloy ： TR-UC08-B-IN
TR-UF45-A-IN
TR-SE45-IN
TR-SE45-A-IN
TR-CE45-IN
Pendent mount (200mm)
(support side cabling)
Pendent mount adaptor
(support side cabling)
Pendent mount (500mm)
TR-UF45-A-IN
Pendent mount adaptor is for indoor.
Outdoor installation should take care of waterproof.
Pendent mount adaptor
(support side cabling)
Wall mount
(Swan neck bracket)
TR-WE45-B-IN
IPC68xx Series /TIC6831ER-F50-4X38P
Pendent mount (200mm)

## Slide 18
Indoor PTZ camera mount
TR-FM200-IN
TR-UF45-H-IN
TR-CE45-IN
TR-WE45-IN
In-ceiling mount
Indoor pendent mount
Indoor wall mount
Adaptor
IPC6222EI Series
TR-WE45-A-IN
Longer bracket
Shorter bracket
Swan neck bracket
TR-WE45-B-IN
TR-CE45-IN
TR-SE45-A-IN
TR-SE45-IN
Pendent mount (500mm)
Pendent mount (200mm)
Indoor pendent mount

## Slide 19
IPC8542ER5-DUG/P
Pendent mount
TR-CM06-C-IN
2D Bracket Mount
TR-UV06-C-IN
Wall Mount
TR-WE45-D-IN
Pole mount Adapter
TR-UP06-B-IN
Pole mount
TR-UP06-IN
Indoor PTZ camera mount
TR-WE45-D-IN
TR-JB07-D-IN
Junction Box
(Optional)

## Slide 20
TR-WE45-E-IN
wall mount
Omniview Network Camera
+
PTZ dome
Omniview Network Camera + PTZ dome mount
KIT-TR4-1
pole mount

## Slide 21
2115C08G
wall mount
Pedestal installation
No accessory
It is necessary to ensure that the mounting base is firm enough
IPC76xx Series
Positioning system mount